## F7.2
Form D 7.2
Distribution Losses
Name of Distribution Licensee |  | JVVNL
Licensed Area of Supply |  | Jaipur Discom
FY 2022-23
Circles | Voltage Level | No of Feeders | Feeders metered | Energy Input | Sales to LT Consumers | Sales to HT Consumers | Total Output | Total Losses | Total Losses (% of Energy Input) | Total Technical Loss | Total technical Losses (% of Energy Input) | Total Commercial Loss | Total Commercial Losses (% of Energy Input)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
Alwar | 11KV. | 1385 | 1385 | 9217.89 | NA | NA | 7936.87 | 1281.02 | 13.9% | NA | NA | NA | 14.63% | 15.33%
Bharatpur | 11KV. | 501 | 501 | 1855.47 | NA | NA | 1246.97 | 608.5 | 32.79% | NA | NA | NA | 33.18% | 37.48%
Dholpur | 11KV. | 220 | 220 | 980.51 | NA | NA | 668.23 | 312.28 | 31.85% | NA | NA | NA | 32.83% | 38.86%
Dausa | 11KV. | 531 | 531 | 1461.65 | NA | NA | 1131.04 | 330.61 | 22.62% | NA | NA | NA | 22.95% | 24.93%
Karauli | 11KV. | 415 | 415 | 1092.32 | NA | NA | 812.82 | 279.5 | 25.59% | NA | NA | NA | 28.54% | 26.54%
JCC | 11KV. | 929 | 929 | 5841.79 | NA | NA | 5438.99 | 402.8 | 6.895% | NA | NA | NA | 9.39% | 14.45%
JPDC | 11KV. | 1634 | 1634 | 5571.58 | NA | NA | 4731.16 | 840.42 | 15.08% | NA | NA | NA | 18.37% | 17.94%
Jhalawar | 11KV. | 574 | 574 | 1371.66 | NA | NA | 1141.03 | 230.63 | 16.81% | NA | NA | NA | 16.81% | 19.79%
Baran | 11KV. | 490 | 490 | 1313.7 | NA | NA | 1068.85 | 244.85 | 18.64% | NA | NA | NA | 18.64% | 22.01%
Kota | 11KV. | 418 | 418 | 1293.4 | NA | NA | 1114.47 | 178.93 | 13.83% | NA | NA | NA | 13.83% | 16.05%
Bundi | 11KV. | 379 | 379 | 1102.27 | NA | NA | 964.49 | 137.78 | 12.5% | NA | NA | NA | 12.5% | 15.51%
Sawai madhopur | 11KV. | 440 | 440 | 1017.74 | NA | NA | 866.62 | 151.12 | 14.85% | NA | NA | NA | 15.27% | 15.74%
Tonk | 11KV. | 434 | 434 | 1021.99 | NA | NA | 891.7 | 130.29 | 12.75% | NA | NA | NA | 14.04% | 13.83%
JAIPUR DISCOM |  | 8350 | 8350 | 33141.97 | NA | NA | 28013.24 | 5128.73 | 15.48% | NA | NA | NA | 16.86% | 17.63%
D. F. Kota * |  |  |  | 2002.53 |  |  | 2002.53 | 0 | 0 |  |  |  | 0.79%
D. F. Bharatpur *
Jaipur Discom with DF at input point |  | 8350 | 8350 | 35144.5 |  |  | 30015.77 | 5128.73 | 14.59% |  |  |  | 15.96%
FY 2023-24
S. No. | Voltage Level | No of Feeders | Feeders metered | Energy Input | Sales to LT Consumers | Sales to HT Consumers | Total Output | Total Losses | Total Losses (% of Energy Input) | Total Technical Loss | Total technical Losses (% of Energy Input) | Total Commercial Loss | Total Commercial Losses (% of Energy Input)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
Alwar | 11 kV | 1385 | 1385 | 10241.0737 | NA | NA | 8898.9549 | 1342.1188 | 13.11% | NA | NA | NA | NA
Bharatpur | 11 kV | 501 | 501 | 2061.4268 | NA | NA | 1423.9041 | 637.5227 | 30.93% | NA | NA | NA | NA
Dholpur | 11 kV | 220 | 220 | 1089.3464 | NA | NA | 762.1721 | 327.1743 | 30.03% | NA | NA | NA | NA
Dausa | 11 kV | 531 | 531 | 1623.8928 | NA | NA | 1277.5142 | 346.3786 | 21.33% | NA | NA | NA | NA
Karauli | 11 kV | 415 | 415 | 1213.5673 | NA | NA | 920.7364 | 292.8309 | 24.13% | NA | NA | NA | NA
JCC | 11 kV | 929 | 929 | 6490.2274 | NA | NA | 6068.2157 | 422.0117 | 6.502% | NA | NA | NA | NA
JPDC | 11 kV | 1634 | 1634 | 6190.0241 | NA | NA | 5309.5199 | 880.5042 | 14.22% | NA | NA | NA | NA
Jhalawar | 11 kV | 574 | 574 | 1523.914 | NA | NA | 1282.284 | 241.63 | 15.86% | NA | NA | NA | NA
Baran | 11 kV | 490 | 490 | 1459.5204 | NA | NA | 1202.9922 | 256.5282 | 17.58% | NA | NA | NA | NA
Kota | 11 kV | 418 | 418 | 1436.9671 | NA | NA | 1249.503 | 187.4641 | 13.05% | NA | NA | NA | NA
Bundi | 11 kV | 379 | 379 | 1224.6217 | NA | NA | 1080.2702 | 144.3515 | 11.79% | NA | NA | NA | NA
Sawai madhopur | 11 kV | 440 | 440 | 1130.7089 | NA | NA | 972.3812 | 158.3277 | 14% | NA | NA | NA | NA
Tonk | 11 kV | 434 | 434 | 1135.4307 | NA | NA | 977.1029 | 158.3277 | 13.94% | NA | NA | NA | NA
JAIPUR DISCOM |  | 8350 | 8350 | 36820.7212 | NA | NA | 31447.3743 | 5373.3469 | 14.59% | NA | NA | NA | NA
FY 2024-25
S. No. | Voltage Level | No of Feeders | Feeders metered | Energy Input | Sales to LT Consumers | Sales to HT Consumers | Total Output | Total Losses | Total Losses (% of Energy Input) | Total Technical Loss | Total technical Losses (% of Energy Input) | Total Commercial Loss | Total Commercial Losses (% of Energy Input)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
Alwar | 11 kV | 1385 | 1385 | 11049.0012 | NA | NA | 9601.0015 | 1447.9997 | 13.11% | NA | NA | NA | NA
Bharatpur | 11 kV | 501 | 501 | 2224.0546 | NA | NA | 1536.2372 | 687.8174 | 30.93% | NA | NA | NA | NA
Dholpur | 11 kV | 220 | 220 | 1175.2859 | NA | NA | 822.3005 | 352.9854 | 30.03% | NA | NA | NA | NA
Dausa | 11 kV | 531 | 531 | 1752.0032 | NA | NA | 1378.2985 | 373.7047 | 21.33% | NA | NA | NA | NA
Karauli | 11 kV | 415 | 415 | 1309.3067 | NA | NA | 993.3741 | 315.9326 | 24.13% | NA | NA | NA | NA
JCC | 11 kV | 929 | 929 | 7002.2472 | NA | NA | 6546.9426 | 455.3046 | 6.502% | NA | NA | NA | NA
JPDC | 11 kV | 1634 | 1634 | 6678.3607 | NA | NA | 5728.3927 | 949.968 | 14.22% | NA | NA | NA | NA
Jhalawar | 11 kV | 574 | 574 | 1644.1369 | NA | NA | 1383.4445 | 260.6924 | 15.86% | NA | NA | NA | NA
Baran | 11 kV | 490 | 490 | 1574.6633 | NA | NA | 1297.8973 | 276.766 | 17.58% | NA | NA | NA | NA
Kota | 11 kV | 418 | 418 | 1550.3307 | NA | NA | 1348.0774 | 202.2534 | 13.05% | NA | NA | NA | NA
Bundi | 11 kV | 379 | 379 | 1321.2332 | NA | NA | 1165.4937 | 155.7395 | 11.79% | NA | NA | NA | NA
Sawai madhopur | 11 kV | 440 | 440 | 1219.9116 | NA | NA | 1049.0932 | 170.8183 | 14% | NA | NA | NA | NA
Tonk | 11 kV | 434 | 434 | 1225.0058 | NA | NA | 1054.1875 | 170.8183 | 13.94% | NA | NA | NA | NA
JAIPUR DISCOM |  | 8350 | 8350 | 39725.541 | NA | NA | 33928.2859 | 5797.2551 | 14.59% | NA | NA | NA | NA