## F7.1
True up Form D 7.1
Distribution Losses
Name of Distribution Licensee |  |  |  | Jodhpur Vidyut Vitran Nigam Limited
Licensed Area of Supply |  |  |  | Jodhpur
Year |  |  |  | FY 2021-22
Circle | Voltage Level | No of Feeders* | Feeders metered* | Energy Input | Total Output | Total Losses | Total Losses (% of Energy Input) | Total Technical Loss | Total technical Losses (% of Energy Input) | Total Commercial Loss | Total AT&C Losses (% of Energy Input)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Jodhpur CC | 11 kV | 412 | 412 | 1682.1279 | 1475.2751 | 206.8528 | 12.3% | NA | NA | NA | 12.3283 | 10
Jodhpur DC | 11 kV | 2727 | 2725 | 7240.8725 | 4739.1596 | 2501.7129 | 34.55% | NA | NA | NA | 33.3893
Pali | 11 kV | 934 | 934 | 1488.2003 | 1371.3372 | 116.8632 | 7.853% | NA | NA | NA | 7.7669
Sirohi | 11 kV | 419 | 419 | 1088.3854 | 997.6647 | 90.7206 | 8.335% | NA | NA | NA | 5.1512
Jalore | 11 kV | 1324 | 1309 | 2693.9591 | 2313.5958 | 380.3633 | 14.12% | NA | NA | NA | 13.3019
Barmer | 11 kV | 1357 | 1343 | 2563.7784 | 2262.1518 | 301.6266 | 11.76% | NA | NA | NA | 10.4928
Jaisalmer | 11 kV | 588 | 583 | 1342.426 | 1075.4608 | 266.9652 | 19.89% | NA | NA | NA | 18.7815
Bikaner CC | 11 kV | 0 | 0 | 795.9435 | 0 | 795.9435 | 0% | NA | NA | NA | 0
Bikaner DC | 11 kV | 1578 | 1552 | 5113.6865 | 3504.8881 | 1608.7983 | 31.46% | NA | NA | NA | 29.2846
Hanumangarh | 11 kV | 739 | 739 | 1525.4913 | 1385.4731 | 140.0182 | 9.179% | NA | NA | NA | 8.987
Sri Ganganagar | 11 kV | 686 | 685 | 1615.887 | 1353.609 | 262.2781 | 16.23% | NA | NA | NA | 15.6777
Churu | 11 kV | 926 | 926 | 2515.3689 | 1906.4728 | 608.8961 | 24.21% | NA | NA | NA | 22.5021
D.F. Bikaner |  | 0 | 0 |  | 789.5029 |  | 0% | NA | NA | NA
Jodhpur Discom |  | 11690 | 11627 | 29666.1268 | 23174.5909 | 6491.5359 | 21.88% | NA | NA | NA | 20.6663